IoT-Based Toxic Gas Detection and Alarm System

"Detect early. Alert instantly. Stay safe."

1. Brainstorming

ToxiGuard was developed through brainstorming different sensing technologies, communication approaches, and safety mechanisms to create a reliable, low-cost, real-time toxic gas detection and alarm system.

1.1 Problem Identification

- No early warning system in homes, kitchens, and industrial areas for LPG, CO, or smoke leaks.

- Manual detection (by smell) is slow, unreliable, and often too late.

- Delayed response leads to fire, explosion, or health hazards (asphyxiation, poisoning).

- People are often away from the leak site and have no way of knowing remotely.

- Existing standalone alarms lack remote alerting and automatic safety response.

1.2 Objectives

- Provide real-time, continuous monitoring of toxic/combustible gas concentration.

- Trigger an instant local alarm (buzzer + LED) on threshold breach.

- Send remote alerts (SMS/app notification) to the user regardless of location.

- Design a low-power, compact, and easy-to-install device.

- Enable automatic safety response such as exhaust fan activation or gas-valve cutoff.

1.3 Idea Generation

- Multi-sensor gas detection using MQ-series sensors (MQ-2, MQ-135, MQ-7).

- Microcontroller-based processing (ESP32/Arduino) with WiFi/GSM connectivity.

- Cloud dashboard for live monitoring and historical trend logging.

- Local buzzer, LED, and LCD/OLED for immediate on-site status display.

- Relay-controlled exhaust fan or solenoid valve for automatic mitigation.

- Battery backup to keep the system operational during power outages.

1.4 Technologies Considered

- Gas Sensors: MQ-2 (LPG/smoke), MQ-135 (air quality/toxic gases), MQ-7 (carbon monoxide).

- Microcontroller: ESP32 / Arduino Uno with NodeMCU for connectivity.

- Communication: WiFi (ESP32) and/or GSM module (SIM800L) for SMS alerts.

- Actuators: Buzzer, LED indicators, relay module for fan/valve control.

- Display: 16x2 LCD / OLED for local status readout.

- Power: Li-ion battery backup with charging/protection circuit.

1.5 Challenges Identified

- Preventing false alarms from sensor drift or environmental noise.

- Achieving fast response time while keeping power consumption low.

- Reliable delivery of remote alerts during network fluctuations.

- Sensor calibration and accuracy across different gas types and concentrations.

- Designing a compact, rugged enclosure suitable for kitchens/industrial areas.

1.6 Solution Approach

- Continuously sample gas concentration and compare against calibrated thresholds.

- Trigger local buzzer/LED instantly, then push a remote alert with the reading and location.

- Use relay-controlled actuation to automatically improve ventilation or cut gas supply.

- Log all events to a cloud dashboard for trend analysis and maintenance planning.

- Support low-power sleep/active cycling to extend battery-backup runtime.

1.7 Expected Outcomes

- Fast, reliable detection of toxic/combustible gas leaks.

- Immediate local and remote alerts, reducing response time.

- Reduced risk of fire, explosion, and gas-poisoning incidents.

- Scalable, cost-effective solution deployable in homes and industries.

1.8 Applications

- Residential kitchens and LPG cylinder storage areas.

- Industrial plants handling combustible or toxic gases.

- Commercial kitchens, hostels, and hospitality establishments.

- Underground parking, boiler rooms, and confined industrial spaces.

1.9 Next Steps

- Build and test the sensor-alarm prototype.

- Calibrate sensors for accurate threshold detection.

- Integrate cloud dashboard and mobile alerting.

- Field-test in real kitchen/industrial conditions and refine based on feedback.

2. Idea Prioritization Matrix

| S.No | Idea / Feature | Impact | Feasibility | Priority | Decision |
| --- | --- | --- | --- | --- | --- |
| 1 | MQ-series Gas Sensor Detection (LPG/CO/Smoke) | High | High | Very High | Implement |
| 2 | Buzzer + LED Local Alarm | High | High | Very High | Implement |
| 3 | WiFi/GSM-based Remote Alert (SMS/App) | Very High | Medium | Very High | Implement |
| 4 | Cloud Dashboard for Live Monitoring | Very High | Medium | Very High | Core Innovation |
| 5 | Automatic Exhaust Fan / Solenoid Valve Cutoff | High | High | High | Implement |
| 6 | Multi-Gas Calibration & Threshold Alerts | High | High | High | Implement |
| 7 | Battery-backup for Power Failure Operation | High | Medium | High | Develop |
| 8 | Data Logging & Historical Trend Analysis | Very High | Medium/Low | Medium | Future Development |
| 9 | Solar-powered Sensor Node | Medium | Medium | Medium | Future Enhancement |
| 10 | AI-based Gas Leak Prediction | Very High | Low/Medium | Medium | Future Research |
| 11 | Drone-based Leak Source Localization | High | Low | Low | Long-term Idea |

Final Selection:

Multi-sensor gas detection with local alarm and remote WiFi/GSM alerting was prioritized because it provides the best balance of:

"Fast Detection + Low Power + Local & Remote Alerting + Automatic Safety Response"

For ToxiGuard, this led to the development of the multi-gas sensing module, dual-mode alerting (buzzer/LED + SMS/app), and relay-based automatic mitigation.

3. Empathy Map

| SAYS - "What if there's a gas leak while I'm not home?" - "How do I know a leak has actually started?" - "I don't want a system that gives false alarms." - "I need to know exactly where the leak is happening." | THINKS - What if the alarm doesn't reach me in time? - Is the sensor still working and calibrated? - Will the system cut the gas supply automatically? - Is my family safe when I'm away? |
| --- | --- |
| DOES - Uses LPG cylinders and old wiring at home/workplace. - Occasionally forgets to check regulator/knob after cooking. - Relies on smell alone to detect leaks currently. - Checks phone frequently when away from home. | FEELS - Anxious about leaving gas appliances unattended. - Fear of fire/explosion or health hazards from gas exposure. - Relief when a confirmed "all clear" status is shown. - Frustration with devices that are complex to operate. |
| PAINS - No early warning before gas concentration becomes dangerous. - Manual monitoring is unreliable and inconsistent. - Delayed response allows leaks to escalate to fire/health risk. - Existing alarms are local-only; no remote notification. - Power cuts can disable simple plug-in detectors. | GAINS / NEEDS - Instant local alarm (buzzer + LED) on gas detection. - Remote SMS/app alert even when away from the location. - Automatic safety action (fan/valve cutoff) to limit exposure. - Battery backup so protection continues during power failure. - Simple, low-maintenance device needing no technical skill. |

Key User Insight

- 1: The user does not primarily need another sensor gadget; they need confidence that a gas leak will be caught early and that they'll be alerted even when they are not physically present.

- 2: Silence after a leak begins is dangerous — an immediate, unmistakable local alarm matters as much as the remote notification.

- 3: Trust depends on the system avoiding false alarms while never missing a real one — accuracy and reliability must be visibly communicated, not assumed.

4. User Persona

ToxiGuard User Persona — Household / Small Industry Occupant

Who is he/she?

- Homeowner, tenant, or small business/industrial operator using LPG cylinders, gas pipelines, or combustion equipment.

- May be a parent, elderly resident, or shift worker who is not always present at the site.

- Limited technical expertise; expects a simple, always-on safety device.

Goals

- Detect gas leaks before they become dangerous.

- Receive an alert immediately, wherever they are.

- Feel confident their home/workplace is protected around the clock.

Key Problems

- No automatic way to detect gas leaks early.

- Cannot monitor the site remotely when away.

- Standalone alarms provide no automatic corrective action.

Needs

- Simple, reliable gas detection with instant local alarm.

- Remote SMS/app notification with gas type and severity.

- Automatic ventilation/cutoff response to limit exposure.

Behavior

- Uses smartphone for everyday notifications and apps.

- Rarely checks equipment manually once installed — expects passive protection.

- Wants a one-time setup with minimal ongoing maintenance.

How ToxiGuard Helps

- Continuously monitors gas concentration and triggers a local buzzer/LED alarm.

- Sends an SMS/app alert with sensor reading and location the moment a threshold is crossed.

- Activates exhaust fan or gas-valve cutoff automatically to reduce risk.

Outcome: A household or small industry occupant gains continuous, automatic protection against toxic gas leaks, with instant local alarm and remote notification — even when they are not on site.

5. Proposed Solution

- ToxiGuard is an IoT-based multi-gas detection and alarm system designed to continuously monitor for toxic and combustible gas leaks and respond automatically.

- The system combines local sensing and alarming with cloud connectivity, so users are alerted whether they are on-site or away, and unsafe conditions trigger automatic mitigation without waiting for human action.

Core Solution

- Gas Sensing: MQ-series sensors continuously sample air for LPG, CO, smoke, and other toxic gases.

- Threshold Detection: Microcontroller compares readings against calibrated safe thresholds.

- Local Alarm: Buzzer and LED activate instantly on threshold breach; LCD/OLED shows live status.

- Remote Alert: WiFi/GSM module sends SMS/app notification with gas type, reading, and location.

- Automatic Mitigation: Relay module triggers exhaust fan or gas-valve solenoid to reduce concentration.

- Cloud Logging: Sensor data and alarm events are logged to a dashboard for monitoring and trend analysis.

- Power Backup: Battery backup keeps the system operational during mains power failure.

6. Functional Requirements

- 1. Gas Sensing: Continuously sample and digitize gas concentration from all connected sensors.

- 2. Threshold Comparison: Compare live readings against calibrated safety thresholds per gas type.

- 3. Local Alarm Activation: Trigger buzzer, LED, and display update immediately on threshold breach.

- 4. Remote Alert Generation: Create and transmit an SMS/app alert containing gas type, reading, and status.

- 5. Network Communication: Send/receive data via WiFi or GSM to the cloud dashboard and user's phone.

- 6. Automatic Mitigation: Activate relay-controlled exhaust fan or gas-valve cutoff on critical readings.

- 7. Status Monitoring: Continuously monitor sensor health, battery level, and connectivity status.

- 8. Data Logging: Record sensor readings and alarm events with timestamps to the cloud dashboard.

- 9. Alert Acknowledgement: Allow the user to acknowledge/reset an alert from the app once the area is safe.

- 10. Fail-safe Operation: Switch to battery backup and continue monitoring/alerting during power loss.

- 11. False-Alarm Filtering: Require multi-sample confirmation before triggering an alert to reduce nuisance alarms.

- 12. Calibration Mode: Support a maintenance/calibration mode for periodic sensor recalibration.

7. Non-Functional Requirements

Non-functional requirements define how effectively and reliably ToxiGuard should operate, rather than what functions it performs.

| Attribute | Requirement |
| --- | --- |
| Reliability | The system shall reliably detect gas concentration and trigger alerts through the sensor-alarm-notification chain without missed detections. |
| Performance | Gas leak detection and alarm activation shall occur with minimum possible delay (target under 2-3 seconds). |
| Low Power | The device shall minimise power consumption and support battery-backup operation during mains failure. |
| Usability | The system shall provide simple visual/audible status indication requiring no technical training to interpret. |
| Scalability | The architecture shall support multiple sensor nodes reporting to a common dashboard/base station. |
| Robustness & Security | The system shall remain operational in dusty/humid environments and protect transmitted data/alerts from tampering. |

Design Goal: A compact, low-power, reliable IoT gas detection and alarm system that responds instantly to toxic/combustible gas leaks and keeps users informed and protected at all times.

8. Gantt Chart

| Task / Activity | Duration (Weeks) | Start Week | End Week |
| --- | --- | --- | --- |
| Requirement Analysis | 2 | W1 | W2 |
| Literature Survey | 2 | W3 | W4 |
| System Design & Architecture | 3 | W5 | W7 |
| Component Selection & Procurement (sensors, ESP32/Arduino) | 2 | W8 | W9 |
| Firmware Development | 4 | W9 | W12 |
| Sensor Calibration (MQ2/MQ135/MQ7) | 2 | W12 | W13 |
| Alert & Cloud Dashboard Integration | 3 | W13 | W15 |
| Power Optimization & Battery Backup | 2 | W15 | W16 |
| Testing & Validation | 3 | W16 | W18 |
| Final Documentation | 1 | W19 | W19 |

Key Milestones

- System Design Complete — End of Week 7

- Working Sensor–Alarm Prototype — End of Week 13

- Cloud Dashboard & Remote Alert Integration Complete — End of Week 15

- Final Testing & Validation Complete — End of Week 18

- Project Completion — Week 19

This Gantt chart shows the planned timeline and sequence of activities for the ToxiGuard project. The project begins with requirement analysis and a literature survey, followed by system design, component selection, and firmware development. Sensor calibration and cloud/alert integration are then implemented and tested, followed by power optimization, system testing, validation, and final documentation.

9. Risk Analysis

| Risk Category | Risk / Event | Probability | Impact | Preventive Action | Contingency / Recovery |
| --- | --- | --- | --- | --- | --- |
| Sensor | Sensor drift / false readings | Medium | High | Periodic calibration & self-test routine | Redundant sensor / manual override alert |
| Power | Power failure disabling detection | Medium | Critical | Battery-backup design | Auto-switch to backup power, low-battery alert |
| Communication | GSM/WiFi network failure blocking alert | Medium | Critical | Dual-channel alert (SMS + WiFi/app) | Local buzzer/LED as fallback |
| False Alarm | Nuisance/false trigger reducing trust | Medium | Medium | Threshold tuning, multi-sample confirmation | Manual acknowledgement & reset option |
| Hardware | Component failure (MCU/relay) | Low | High | Quality components, protective enclosure | Modular design for quick replacement |
| Environmental | Dust, humidity, temperature extremes | Medium | Medium | Rugged/sealed enclosure design | Scheduled maintenance & cleaning |
| Data/Security | Unauthorized access to alerts/dashboard | Low | High | Authentication & encrypted transmission | Access revocation & credential reset |
| Deployment | Incorrect sensor placement | Medium | Medium | Installation guidelines & training | Site re-assessment & repositioning |

High-Priority Risks

- Sensor drift / inaccurate readings → periodic calibration + redundant sensing

- Power failure disabling the device → battery backup + low-power design

- Communication failure blocking remote alerts → dual-channel alerting (SMS + WiFi/app) with local fallback

- False alarms reducing user trust → multi-sample confirmation + threshold tuning

- Hardware failure (MCU/relay) → modular design for quick replacement

Overall: The major risks in ToxiGuard relate to sensor accuracy, power continuity, and communication reliability. The system addresses these through redundant sensing, battery backup, dual-channel alerting, and automatic mitigation.